{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":24,"n_cols":35,"rows_kept":24,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","CU-E"]
[]
[]
[]
[]
["","","","","","GCU2023E2B1C3R","GCU2030E2B1C3R","HCU2030E2B1C3R","GCU2035E2B1C3R","GCU2035E3B1C3R","GCU2040E2B1C3R","GCU2040E3B1C3R","HCU2040E2B1C3R","GCU2050E3B1C3R","GCU3050E2B1C3R","HCU2050E2B1C3R","GCU2060E3B1C3R","GCU3060E2B1C3R","HCU2060E2B1C3R","GCU2070E3B1C3R","GCU3070E2B1C3R","HCU3075E2B1C3R","GCU3080E3B1C3R","GCU5080E2B1C3R","GCU3090E3B1C3R","GCU5090E2B1C3R","GCU3100E3B1C3R","GCU5100E2B1C3R","HCU4100E2B1C3R","GCU5130E2B1C3R","GCU5130E3B1C3R","HCU4130E2B1C3R","GCU5150E2B1C3R","GCU5150E3B1C3R","HCU4150E2B1C3R"]
["Kapac. hlajenja","Sred. temp.","R-134a","Nom.","kW","","","","","3.723","","4.016","","5.2","","","6.237","","","7.263","","","8.085","","9.304","","10.725","","","","14.011","","","16.3"]
["Ohišje","Barva","","Kondenzator","","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela","Bela"]
["","Material","","Kondenzator","","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo","Jeklo"]
["Mere","Kondenzator","","Širina","mm","1400","1400","1400","1400","1400","1400","1400","1400","1400","1400","1400","1400","1400","1400","1400","1400","1400","1400","2405","1400","2405","1400","2405","1680","2405","2405","1680","2405","2405","1680"]
["","","","Globina","mm","550","550","550","550","550","550","550","550","550","550","550","550","550","550","550","550","550","550","750","550","750","550","750","750","750","750","750","750","750","750"]
["Kompresor","Količina","","","","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1","1"]
["","Tip","","","","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni","Spiralni"]
["","Model","","","","ZB19","ZB21","ZF09","ZB26","ZB26","ZB29","ZB29","ZF13","ZB38","ZB38","ZF15","ZB45","ZB45","ZF18","ZB48","ZB48","ZF25","ZB57","ZB57","ZB66","ZB66","ZB76","ZB76","ZF34","ZB95","ZB95","ZF41","ZB114","ZB114M","ZF49"]
["","Način zagona_","","","","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni","Neposredni"]
["Kondenzator","Zračni tok","","","m³/h","3600","3600","3600","3370","3370","3370","3370","3600","3370","7200","3600","3370","7200","3370","3370","6740","7200","6740","14400","6740","14400","6740","14400","6740","14400","14400","6740","13480","13480","6740"]
["Območje delovanja","Temperatura okolice","","Min.","°C","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45"]
["","","","Maks.","°C","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45","45"]
["Hladilno sredstvo","Tip","","","","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več","Več"]
["Standardna posoda za tekočino","l","","","","5.7","5.7","5.7","5.7","5.7","5.7","5.7","5.7","5.7","10","5.7","5.7","10","5.7","5.7","10","10","10","21","10","21","10","21","10","21","21","10","21","21","10"]
["Raven zvočnega tlaka","Nom.","","","dBA","33","34","36","35","35","34","34","37","35","37","37","35","37","39","37","38","42","39","40","39","41","39","41","40","41","41","41","43","43","44"]
["Napajanje","Napetost","","","V","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400","380-400"]
["","Faza","","","","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~","3N~"]
["","Frekvenca","","","Hz","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50"]