{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":27,"n_cols":9,"rows_kept":27,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","ELSH-E"]
[]
[]
[]
[]
["","","","","","ELSH12P50EG","ELSH12P30EG","ELSH12P30EF (Archived)","ELSH12P50EF (Archived)"]
["Ohišje","Barva","","","","Bela (RAL9016) / Črna (RAL9017)","Bela (RAL9016) / Črna (RAL9017)","Bela (RAL9016) / Črna (RAL9017)","Bela (RAL9016) / Črna (RAL9017)"]
["","Material","","","","Na udarec odporen polipropilen","Na udarec odporen polipropilen","Na udarec odporen polipropilen","Na udarec odporen polipropilen"]
["Mere","Enota","","Višina","mm","1910","1891","1893","1910"]
["","","","Širina","mm","792","594","594","792"]
["","","","Globina","mm","817","680","680","817"]
["Teža","Enota","","","kg","112","91.0","76.0","91.0"]
["PED","Kategorija","","","","Kategorija II","Kategorija II","Kategorija II","Kategorija II"]
["Hladilno sredstvo","Tip","","","","R-32","R-32","R-32","R-32"]
["Raven zvočne moči","Nom.","","","dBA","44.7","44.7","44.7","44.7"]
["Raven zvočnega tlaka","Nom.","","","dBA","36.8","36.8","36.8","36.8"]
["Območje delovanja","Gretje","Stran vode","Min.","°C","15 (3)","15 (3)","15 (3)","15 (3)"]
["","","","Maks.","°C","65 (3)","65 (3)","65 (3)","65 (3)"]
["","Hlajenje","Okolje","Min.","°CDB","10 (3)","10 (3)","10 (3)","10 (3)"]
["","","Stran vode","Min.","°C","5 (3)","5 (3)","5 (3)","5 (3)"]
["","","","Maks.","°C","22 (3)","22 (3)","22 (3)","22 (3)"]
["Napajanje","Faza","","","","1~","1~","1~","1~"]
["","Frekvenca","","","Hz","50","50","50","50"]
["","Napetost","","","V","230","230","230","230"]
["Opombe","","","","","(1) - Obratovalno območje je razširjeno na nižje hitrosti pretoka glede na način delovanja − glejte krivuljo ESP.","(1) - Obratovalno območje je razširjeno na nižje hitrosti pretoka glede na način delovanja − glejte krivuljo ESP.","(1) - Obratovalno območje je razširjeno na nižje hitrosti pretoka glede na način delovanja − glejte krivuljo ESP.","(1) - Obratovalno območje je razširjeno na nižje hitrosti pretoka glede na način delovanja − glejte krivuljo ESP."]
["","","","","","(2) - Toplotna izguba v skladu z EN12897","(2) - Toplotna izguba v skladu z EN12897","(2) - Toplotna izguba v skladu z EN12897","(2) - Toplotna izguba v skladu z EN12897"]
["","","","","","(3) - Več podrobnosti preverite na risbi z obratovalnim razponom","(3) - Več podrobnosti preverite na risbi z obratovalnim razponom","(3) - Več podrobnosti preverite na risbi z obratovalnim razponom","(3) - Več podrobnosti preverite na risbi z obratovalnim razponom"]