{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":92,"n_cols":10,"rows_kept":92,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FTXA-AW"]
[]
[]
[]
[]
["","","","","","FTXA20A2V1BW","FTXA25A2V1BW","FTXA35A2V1BW","FTXA42A2V1BW","FTXA50A2V1BW"]
["Raven zvočnega tlaka","Gretje","","Visok","dBA","39","40","41","","46"]
["","","","Srednja","dBA","32","33","33","","42"]
["","","","Tiho delovanje","dBA","19","19","19","","24"]
["","","","Nizko","dBA","25","25","25","","33"]
["","Hlajenje","","Srednja","dBA","32","33","33","","39"]
["","","","Tiho delovanje","dBA","19","19","19","","24"]
["","","","Nizko","dBA","25","25","25","","31"]
["","","","Visok","dBA","39","40","41","","46"]
["Standardni pripomočki","Priročnik za namestitev","","","","1","1","1","","1"]
["","Priročnik za upravljanje","","","","1","1","1","","1"]
["","Zračni filter","","","","2","2","2","","2"]
["","Infrardeči daljinski upravljalnik","","","","1","1","1","","1"]
["","Montirna plošča daljinskega upravljalnika","","","","1","1","1","","1"]
["","Vrečka vijaka","","","","1","1","1","","1"]
["","Vijačni pokrov","","","","1","1","1","","1"]
["","Suhe baterije AAA","","","","2","2","2","","2"]
["","Splošni varnostni previdnostni ukrepi","","","","1","1","1","","1"]
["Hladilno sredstvo","GWP","","","","675.0","675.0","675.0","","675.0"]
["Krmilni sistemi","Ožičeni daljinski krmilnik","","","","BRC073","BRC073","BRC073","","BRC073"]
["","Infrared remote control","","","","ARC466A58","ARC466A58","ARC466A58","","ARC466A58"]
["Priključki cevne napeljave","Tekočina","","Zun. premer","mm","6.35","6.35","6.35","","6.35"]
["","Plin","","Zun. premer","mm","9.50","9.50","9.50","","12.70"]
["","Drain","","","","18","18","18","","18"]
["Vhodna moč","Hlajenje","","Nom.","kW","0.020","0.022","0.023","","0.030"]
["","Gretje","","Nom.","kW","0.020","0.020","0.022","","0.039"]
["Raven zvočne moči","Hlajenje","","","dBA","57","57","60","","60"]
["Mere","Enota","","Širina","mm","798","798","798","","798"]
["","","","Globina","mm","189","189","189","","189"]
["","","","Višina","mm","295","295","295","","295"]
["Ohišje","Barva","","","","Bela","Bela","Bela","","Bela"]
["Teža","Enota","","","kg","11.50","11.50","11.50","","11.50"]
["Ventilator","Hitrost pretoka zraka","Gretje","Visok","m³/min","10.9","11.1","11.5","","15.1"]
["","","","Srednja","m³/min","8.7","9.0","9.0","","11.1"]
["","","","Nizko","m³/min","6.4","6.4","6.4","","8.2"]
["","","","Tiho delovanje","m³/min","4.5","4.5","4.5","","5.7"]
["","","Hlajenje","Nizko","m³/min","6.1","6.1","6.1","","7.6"]
["","","","Srednja","m³/min","8.2","8.6","8.6","","10.4"]
["","","","Visok","m³/min","11.0","11.5","11.9","","13.5"]
["","","","Tiho delovanje","m³/min","4.6","4.6","4.6","","5.2"]
["Power supply","Faza","","","","1~","1~","1~","","1~"]
["","Ime","","","","V1","V1","V1","","V1"]
["","Frekvenca","","","Hz","50","50","50","","50"]
["","Napetost","","","V","220-240","220-240","220-240","","220-240"]
["Vhodna moč","Hlajenje","","Nom.","kW","","","","0.028"]
["","Gretje","","Nom.","kW","","","","0.036"]
["Ohišje","Barva","","","","","","","Bela"]
["Mere","Enota","","Višina","mm","","","","295"]
["","","","Širina","mm","","","","798"]
["","","","Globina","mm","","","","189"]
["Teža","Enota","","","kg","","","","11.50"]
["Ventilator","Hitrost pretoka zraka","Hlajenje","Visok","m³/min","","","","13.1"]
["","","","Srednja","m³/min","","","","9.8"]
["","","","Nizko","m³/min","","","","7.2"]
["","","","Tiho delovanje","m³/min","","","","4.6"]
["","","Gretje","Visok","m³/min","","","","14.6"]
["","","Ogrevanje","Srednja","m³/min","","","","10.5"]
["","","Gretje","Nizko","m³/min","","","","7.7"]
["","","","Tiho delovanje","m³/min","","","","5.2"]
["Raven zvočne moči","Hlajenje","","","dBA","","","","60"]
["Raven zvočnega tlaka","Hlajenje","","Visok","dBA","","","","45"]
["","","","Srednja","dBA","","","","37"]
["","","","Nizko","dBA","","","","29"]
["","","","Tiho delovanje","dBA","","","","21"]
["","Gretje","","Visok","dBA","","","","45"]
["","Ogrevanje","","Srednja","dBA","","","","37"]
["","Gretje","","Nizko","dBA","","","","29"]
["","","","Tiho delovanje","dBA","","","","21"]
["Hladilno sredstvo","GWP","","","","","","","675.0"]
["Priključki cevne napeljave","Tekočina","","Zun. premer","mm","","","","6.35"]
["","Plin","","Zun. premer","mm","","","","12.70"]
["","Izpust","","","","","","","18"]
["Krmilni sistemi","Infrardeči daljinski upravljalnik","","","","","","","ARC466A58"]
["","Ožičeni daljinski krmilnik","","","","","","","BRC073"]
["Standardni pripomočki","Installation manual","","","","","","","1"]
["","Screw cover","","","","","","","1"]
["","AAA dry-cell batteries","","","","","","","2"]
["","General safety precautions","","","","","","","1"]
["","Operation manual","","","","","","","1"]
["","Zračni filter","","","","","","","2"]
["","Infrared remote control","","","","","","","1"]
["","Remote controller mounting plate","","","","","","","1"]
["","Screw bag","","","","","","","1"]
["Napajanje","Ime","","","","","","","V1"]
["","Faza","","","","","","","1~"]
["","Frekvenca","","","Hz","","","","50"]
["","Napetost","","","V","","","","220-240"]