{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":18,"n_cols":3,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","RRDQ-V1"]
[]
[]
[]
[]
["","","RRDQ220V1"]
["Standardni pripomočki","1/4\" polnilna cev s krogličnim ventilom (rdeča) 152 cm (AR344)","1/4\" polnilna cev s krogličnim ventilom (rdeča) 152 cm (AR344)"]
["","1/4\" polnilna cev s krogličnim ventilom (modra) 152 cm (AR345)","1/4\" polnilna cev s krogličnim ventilom (modra) 152 cm (AR345)"]
["","Filter (TF011)","Filter (TF011)"]
["","Suh filtrski vložek z molekulskim sitom (AR179E)","Suh filtrski vložek z molekulskim sitom (AR179E)"]
["","Opazovalno steklo 1/4\" (ES603)","Opazovalno steklo 1/4\" (ES603)"]
["","Zvončasti spoj 1/4\" Ženski x 1/4\" Ženski (BF0020)","Zvončasti spoj 1/4\" Ženski x 1/4\" Ženski (BF0020)"]
["","Navodila za uporabo RRDQ220V1 (IM0496)","Navodila za uporabo RRDQ220V1 (IM0496)"]
["","Adapter za tekoče polnilo 1/4\" - Uporablja se za recikliranje R134a (izbirni pribor)","Adapter za tekoče polnilo 1/4\" - Uporablja se za recikliranje R134a (izbirni pribor)"]
["Opombe","","(1) - Pridržujemo si pravico do spremembe tehničnih podatkov brez vnaprejšnjega obvestila"]
["","","(2) - Stopnje recikliranja so različne in so odvisne od različnih pogojev"]
["","","(3) - Pri recikliranju R134a upoštevajte stran 11 v navodilih za uporabo"]
["","","(4) - Rezultati recikliranja so različni in so odvisni od stopnje onesnaženosti hladilnega sredstva, ki ga reciklirate"]